ATPase assay protocol

Buffers:

TEA buffer:	2L/1L of 1X:	50 mL of 10X:

50 mM triethanolamine-HCl (TEA)	18.57 g/ 9.29 g	4.64 g

50 mM KCl	7.46 g/ 3.73 g	1.86 g

20 mM MgCl2*6H2O	8.13 g/ 4.07 g	2.03 g

pH 7.5

ATP:	Ammonium molybdate:	H3PO4:

100 mM, in H2O	4.2%, in 4 N HCl	1000 µM, in 1 N H2SO4

5 mL: 0.275 g	50 mL: 2.1 g (NH4)6Mo7O24	50 mL: 58 µL of 85% H3PO4

pH 7.5 (pH changes quickly!)	16.51 mL of 12.1 N HCl	1.38 mL of 36 N H2SO4

Add H2O to 50 mL

Citric acid:	H2SO4:	Triton X-100:

34%, in H2O	0.01 N, in H2O	1%, in H2O

50 mL: 17 g	50 mL: 138 µL of 36 N	50 mL: 0.5 mL of 100%

Malachite green

0.045%, in H2O

36 mL: 16.2 mg

Making solutions with concentrated acid: add some water first to tube, then slowly add acid.

Solutions with molybdate and malachite green need to be disposed of in proper waste container! (tips and tubes go in autoclave waste)

MUST include

a) GroEL alone

b) GroEL + GroES

c) GroEL + GroES7 WT

along with GroES7 mutants being tested

Day 1:

- Dialyze all proteins being tested (GroEL, GroES, GroES7, GroES7 mutants) in same cylinder in 2 L of 1X TEA buffer overnight, 4°C, slow stirring

Day 2:

- Remove proteins from dialysis and take concentrations with Bradford reagent:

  - Dilute all proteins 1:10 by combining 5 µL protein and 45 µL H2O

  - Add 50 µL diluted protein to 1500 µL pre-warmed Bradford reagent

  - Use standard curve to convert absorbance to concentration

- Convert protein concentration to molarity, dilute proteins in 1X TEA buffer

  - GroEL: dilute to 1.25 µM, use molecular weight of 14-mer: 805,000 g/mol (1 = 57.5 g/mol) for SR1: dilute to 2.5 µM, use mol. weight of 7-mer: 402,500 g/mol

  - GroES: dilute to 3 µM, for both GroES and GroES7 use molecular weight of 75,000 g/mol

  - Example calculation: GroES at 8 mg/mL

8 mg  x    1 g      x    1 mol     x  1,000,000 µmol  x  1000 mL  =  106.666 µM

1 mL     1000 mg     75,000 g           1 mol                  1 L

Use M1V1 = M2V2 to dilute to 3 µM, use final volume of 500 µL

- Make dye solution (make day of experiment, make fresh every time):

  - Combine 36 mL of 0.045% malachite green, 12 mL of 4.2% ammonium molybdate, and 1 mL of 1% Triton X-100

  - Let dye solution sit on bench top at least 1 hour

  - Filter through 0.45 µm filter (with dye recipe as written, can do one PO4 standard curve and seven protein combinations)

  - After filtering, let dye solution sit on bench top 1 hour before using

- Make phosphate standard curve:

| Final PO4 conc (uM) | uL of 1000 µM H3PO4 (in 1 N H2SO4) | uL of 0.01 N H2SO4 |
| --- | --- | --- |
| 0 | 0 | 1000 |
| 20 | 20 | 980 |
| 40 | 40 | 960 |
| 60 | 60 | 940 |
| 80 | 80 | 920 |
| 100 | 100 | 900 |
| 120 | 120 | 880 |
| 140 | 140 | 860 |
| 160 | 160 | 840 |
| 180 | 180 | 820 |
| 200 | 200 | 800 |

- Perform phosphate standard curve:

  - Blank spec at 660 nm with 1 mL H2O

  - Combine 800 µL dye solution and 50 µL of 1X TEA in eleven 1.5 mL tubes

  - Add 50 µL of phosphate standard solution, start timer, vortex, incubate 60 sec

  - At 1 minute, add 100 µL of 34% citric acid, vortex, pipette into cuvette

  - Take three readings at 660 nm at 1 min 25 sec, 1 min 30 sec, 1 min 35 sec

  - Pour liquid from cuvette into waste container

  - Repeat steps c-f for all standards

- Perform steady-state ATPase assay with proteins:

  - Thaw ATP aliquot, keep at room temp

  - Combine:

    - 255 µL H2O

    - 37.5 µL of 10X TEA buffer

    - 37.5 µL of 1.25 µM GroEL (final 0.125 µM)

    - 37.5 µL of 3 µM GroES (final 0.3 µM) or 37.5 µL of 1X TEA buffer

  - Vortex, let incubate at room temp for 10 minutes

  - During incubation, prepare 7 identical tubes with 800 µL dye solution and 50 µL of 1X TEA

  - After 10 minute incubation is completed, add 7.5 µL of 100 mM ATP to reaction, vortex, start timer (final 2 mM)

  - At 1 min 55 sec (5 seconds before timepoint), remove 50 µL of reaction, at 2 min add it to dye solution tube, vortex, let react for 1 min

  - At 3 minutes, add 100 µL of 34% citric acid to tube, vortex, pipette into cuvette

  - Take 3 readings at 660 nm at 3 min 25 sec, 3 min 30 sec, 3 min 35 sec

  - Repeat steps f, g, and h at 4, 6, 8, 10, 12, and 14 minutes

Data analysis:

Phosphate standard curve:

Plot average absorbance on X axis, concentration of PO4 on Y axis

Create linear trendline

ATPase assay:

Calculate average absorbance for all timepoints

Use linear trendline from phosphate curve: input average absorbance for x, calculate y

Plot time on X axis, concentration of PO4 on Y axis

Create linear trendline for each protein

Slope of trendline is the rate of ATP hydrolysis

Calculate percent rate for all EL-ES reactions (set GroEL/SR1 alone rate to 100%)